## wrd_pricetater_flex_type_summar
TIME PERIOD = 1 WEEK, Rate = TOU 3 | [13 empty] | CAPEX => | 120559.6718
Season | Flexibility Type | Num Flexible Trains | Total Operational Cost | Total Water Production (m3) | LCOW ($/m3) | Total Energy Cost | Fixed Demand Cost | Variable Demand Cost | Total Elec. Cost | Total Feed Cost | Total Brine Cost | Total Chemical Cost | Total Replacement Cost | Total Demand Response Revenue | Total Cost | Maximum Power | Energy Capacity | Power Capacity | LVOF | Charge Energy Capacity | Charge Power Capacity
winter | no_flex | 0 | 112555.1611 | 282179.6712 | 0.82464 | 18242.5462 | 4851.7229 | 2606.3792 | 25700.6482 | 50843.184 | 15303.7984 | 19297.5305 | 1410 | 0 | 233114.8329 | 1101.6749 | 0 | 0 | 0
summer | no_flex | 0 | 121507.9245 | 282179.6712 | 0.85637 | 20627.4312 | 4930.8542 | 9095.1263 | 34653.4117 | 50843.184 | 15303.7984 | 19297.5305 | 1410 | 0 | 242067.5964 | 1101.6749 | 0 | 0 | 0
85444.5129
winter | rr | 0 | 112135.0692 | 282179.6712 | 0.82463 | 18240.8408 | 4851.2693 | 2606.1355 | 25698.2456 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 232694.741 | 1101.5719 | 0 | 0 | 0
summer | rr | 0 | 121097.9371 | 282179.6712 | 0.8564 | 20632.0082 | 4931.9487 | 9097.1451 | 34661.102 | 50843.187 | 15303.8063 | 19297.5311 | 992.3107 | 0 | 241657.6089 | 1101.9195 | 0 | 0 | 0
winter | flow | 0 | 112171.6634 | 282179.6712 | 0.82476 | 18266.8157 | 4858.1775 | 2609.8466 | 25734.8398 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 232731.3352 | 1103.1405 | 0 | 0 | 0
summer | flow | 0 | 121125.5401 | 282181.8122 | 0.85649 | 20646.8533 | 4935.5484 | 9103.7848 | 34686.1865 | 50844.0529 | 15305.2129 | 19297.7772 | 992.3107 | 0 | 241685.2119 | 1102.7237 | 0 | 0 | 0
winter | both | 0 | 112135.0692 | 282179.6712 | 0.82463 | 18240.8408 | 4851.2693 | 2606.1355 | 25698.2456 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 232694.741 | 1101.5719 | 0 | 0 | 0
summer | both | 0 | 119603.3592 | 282179.6718 | 0.8511 | 20424.3317 | 5117.5665 | 7308.5386 | 32850.4368 | 50924.3391 | 15521.9024 | 19314.3702 | 992.3107 | 0 | 240163.031 | 1143.3911 | 5393.7865 | 215.7515 | 0.33425
winter | no_flex | 1 | 112765.5248 | 282322.95 | 0.82996 | 18232.2633 | 6458.8654 | 2586.4982 | 27277.6269 | 50869 | 15311.569 | 19307.3289 | 994.0965 | 0 | 234317.5074 | 1466.6068 | 0 | 0 | 0
summer | no_flex | 1 | 120212.8833 | 282179.6712 | 0.85678 | 20695.8604 | 4947.2118 | 9125.2983 | 34768.3705 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 241764.8659 | 1105.3296 | 0
winter | no_flex | 2 | 112730.2286 | 282179.6713 | 0.82674 | 18663.2901 | 4963.6224 | 2666.4924 | 26293.405 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 233289.9004 | 1127.0838 | 0 | 0 | 0
summer | no_flex | 2 | 118976.3809 | 282179.6712 | 0.84881 | 19987.3877 | 6536.1025 | 5997.915 | 32521.4053 | 50843.184 | 15303.7984 | 19297.5305 | 1010.4627 | 0 | 239536.0527 | 1460.3272 | 17682.5396 | 148.5928 | 0.12159
85444.5129
winter | flow | 2
summer | flow | 2 | 119071.8192 | 282179.6712 | 0.84915 | 20001.7589 | 6545.6854 | 6069.3992 | 32616.8436 | 50843.184 | 15303.7984 | 19297.5305 | 1010.4627 | 0 | 239631.491 | 1462.4682 | 17686.3241 | 149.8841 | 0.11617
winter | both | 2 | 112730.2336 | 282179.6713 | 0.82674 | 18663.2904 | 4963.6225 | 2666.4924 | 26293.4053 | 50843.1852 | 15303.8016 | 19297.5307 | 992.3107 | 0 | 233289.9054 | 1127.0838 | 0 | 0 | 0
summer | both | 2 | 117782.2072 | 282179.6712 | 0.8431 | 19840.5371 | 5280.6331 | 4877.4899 | 29998.6601 | 51077.1359 | 15932.544 | 19346.0755 | 1427.7917 | 0 | 238341.879 | 1179.8242 | 12780.0129 | 511.2005 | 0.1812 | 11081.3187 | 77.4917
winter | no_flex | 4 | 112734.6899 | 282179.6713 | 0.82676 | 18666.4568 | 4964.4646 | 2666.9448 | 26297.8663 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 233294.3617 | 1127.275 | 0 | 0 | 0
summer | no_flex | 4 | 119012.7644 | 282179.6712 | 0.84894 | 20022.6276 | 6537.0412 | 5998.0824 | 32557.7512 | 50843.1937 | 15303.8243 | 19297.5325 | 1010.4627 | 0 | 239572.4362 | 1460.5369 | 20030.0456 | 178.8397 | 0.10553
winter | both | 4 | 113152.3743 | 282179.6712 | 0.82676 | 18666.453 | 4964.4637 | 2666.9443 | 26297.861 | 50843.1841 | 15303.7987 | 19297.5305 | 1410 | 0 | 233712.0461 | 1127.2748 | 0 | 0 | 0
summer | both | 4 | 117790.4155 | 282179.6712 | 0.8431 | 19840.5371 | 5280.6331 | 4877.4899 | 29998.6601 | 51077.1359 | 15932.544 | 19346.0755 | 1436 | 0 | 238350.0873 | 1179.8242 | 12780.0129 | 511.2005 | 0.1812 | 11081.3187 | 77.4917
summer | both | 4 | 118576.0784 | 282179.6712 | 0.84579 | 19619.1078 | 6176.7328 | 1.4362e-05 | 25795.8407 | 50989.9452 | 20356.5524 | 19971.3621 | 1462.378 | 0 | 239135.7502 | 1380.0351 | 33615.9435 | 908.539 | 0.045274 | 36375.1657 | 277.673
No Shutdowns - 5 Shutdowns |  |  | -785.6629 | -2.4971e-08 | -0.0026908 | 221.4292 | -896.0998 | 4877.4899 | 4202.8194 | 87.1907 | -4424.0084 | -625.2866 | -26.378 | 0 | 785.6629 | 200.2109 | 20835.9306 | 397.3385 | -0.13593 | 25293.847 | 200.1813
TOU 3 2026
winter | no_flex | 0 | 116993.3192 | 282190.86 | 0.84034 | 21182.9593 | 6486.2597 | 2466.3619 | 30135.581 | 50845.2 | 15304.4052 | 19298.2957 | 1409.8374 | 0 | 237552.9911 | 1102.0927 | 0 |  |  | 15.567 | 0.092661
summer | no_flex | 0 | 125900.8206 | 282190.86 | 0.8719 | 23139.1297 | 6486.2597 | 9417.6929 | 39043.0823 | 50845.2 | 15304.4052 | 19298.2957 | 1409.8374 | 0 | 246460.4924 | 1102.0927 | 0 |  |  | 15.567 | 0.092661
winter | both | 4 | 116978.5147 | 282179.6713 | 0.84032 | 21174.9311 | 6483.8014 | 2465.4272 | 30124.1596 | 50843.1852 | 15303.8017 | 19297.5307 | 1409.8374 | 0 | 237538.1865 | 1101.675 | 54.605 | 0.32503 | -106.8312 | 0
summer | both | 4 | 122209.9333 | 282179.6712 | 0.85878 | 22232.9956 | 6892.2829 | 5063.3927 | 34188.6712 | 51137.4986 | 16094.7688 | 19358.6008 | 1430.394 | 0 | 242769.6052 | 1171.0808 | 13170.1833 | 487.7846 | -0.16036 | 9733.9103 | 69.0348
Higher Rate Even Division
winter
summer | no_flex | 0 | 125926.9413 | 282190.86 | 0.872 | 23255.9294 | 5559.1797 | 10254.0938 | 39069.203 | 50845.2 | 15304.4052 | 19298.2957 | 1409.8374 | 0 | 246486.6131 | 1102.0927 | 0 |  |  | 15.567 | 0.092661
winter
summer | both | 4 | 121548.5673 | 282179.6717 | 0.85646 | 21922.6709 | 5892.0772 | 5494.1642 | 33308.9124 | 51194.9025 | 16249.0415 | 19370.5121 | 1425.1989 | 0 | 242108.2391 | 1168.0887 | 12792.6637 | 511.7065 | -0.11339 | 7320.3797 | 51.1915
RTP RATE
winter | no_flex | 0 | 117853.9906 | 282179.6712 | 0.8449 | 23556.4208 | 6947.4542 | 913.292 | 31417.167 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 238413.6624 | 1102.6552 | 0 | 0 | 0
summer | no_flex | 0 | 182278.6142 | 282190.86 | 1.0717 | 84096.1232 | 6548.9454 | 4775.8074 | 95420.876 | 50845.2 | 15304.4052 | 19298.2957 | 1409.8374 | 0 | 302838.2861 | 1101.7709 | 38.4932 | 0.22913 | 123.1747 | 0
winter | both | 0 | 118024.7303 | 282179.6712 | 0.84551 | 23683.1294 | 6986.3696 | 918.4077 | 31587.9067 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 238584.4021 | 1108.8316 | 0 | 230512.5961 | 1103.3673
summer | both | 0 | 172556.332 | 282179.6712 | 1.0388 | 73514.1871 | 7482.8438 | 4044.931 | 85041.9619 | 51119.8327 | 16047.2916 | 19354.9351 | 992.3107 | 0 | 293116.0038 | 1187.6288 | 9393.8913 | 260.9414 | -3.6405
winter | both | 4 | 117826.0602 | 282179.6712 | 0.8448 | 23535.4787 | 6941.2778 | 912.4801 | 31389.2366 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 238385.732 | 0 | 0 | 0 | 0
summer | both | 4 | 121985.712 | 282179.6712 | 0.85784 | 20995.4494 | 8679.2469 | 0 | 29674.6963 | 50866.658 | 20025.2182 | 19945.78 | 1473.3595 | 0 | 242545.3838 | 1460.1651 | 37676.4831 | 819.054 | 1.7261 | 43664.3037 | 357.9041
5389.7554
Simple DR
summer | flow | 2 | 116477.095 | 282495 | 0.83904 | 20221.8897 | 6553.7441 | 6160.425 | 32936.0588 | 50939.5611 | 15427.2205 | 19327.3039 | 1004.9478 | 3157.9971 | 237036.7668 | 1464.2687 | 8672.9882 | 346.9195 | 2.4303
summer | flow | 4 | 109562.9753 | 282179.6712 | 0.81689 | 20285.0983 | 6552.6722 | 6068.9241 | 32906.6946 | 50843.184 | 16378.7984 | 19449.3505 | 1004.9478 | 11020 | 230122.6471 | 1464.0293 | 26064.4891 | 407.2576 | 1.0961
summer | both | 4 | 107555.2982 | 282179.6712 | 0.80674 | 19617.2696 | 6177.7909 | 1.4897e-05 | 25795.0604 | 50989.9452 | 20356.5525 | 19971.3621 | 1462.378 | 11020 | 228114.9701 | 1380.2715 | 33980.6344 | 943.9065 | 0.36911 | 36719.7301 | 278.1798
summer | both | 4 | 108041.9585 | 282179.6712 | 0.80856 | 19403.0542 | 5553.2925 | 4877.8861 | 29834.2328 | 51173.6701 | 17123.6464 | 19494.7821 | 1435.6271 | 11020 | 228601.6304 | 1240.7431 | 17914.4824 | 398.0996 | 0.67298 | 13163.2322 | 107.0181
1 shutdown - 5 shutdowns = |  |  | 486.6603 | -1.06e-07 | 0.0018194 | -214.2154 | -624.4984 | 4877.8861 | 4039.1724 | 183.7249 | -3232.9061 | -476.58 | -26.7508 | 0 | 486.6603 | -139.5284 | -16066.1519 | -545.8069 | 0.30386 | -23556.4979 | -171.1616
Result with a lower baseline peak power
summer | both | 4 | 111404.4874 | 282179.6721 | 0.82038 | 19838.6932 | 6386.1062 | 9.2973e-06 | 26224.7994 | 50899.9454 | 20114.6775 | 19952.6872 | 1462.378 | 7250 | 231964.1592 | 1426.8143 | 20405.9608 | 566.8322 | 0.42603 | 88484.4317 | 670.3366
Result with a delayed shutdown
summer | both | 4 | 107688.4217 | 282179.6712 | 0.80721 | 19953.455 | 6500.554 | 1.4042e-05 | 26454.009 | 50854.9452 | 19993.7399 | 19943.3496 | 1462.378 | 11020 | 228248.0935 | 1452.3847 | 38020.5776 | 884.1995 | 0.32639 | 43796.1825 | 350.3695
Delayed Shutdowns vs. None |  |  | 133.1235 | 0 | 0.00047177 | 336.1854 | 322.7631 | -8.5546e-07 | 658.9486 | -135 | -362.8126 | -28.0125 | 0 | 0 | 133.1235
5347.5219
CPP DR Program
winter | no_flex | 0
summer | no_flex | 0 | 125093.2343 | 282190.86 | 0.86904 | 24203.4978 | 4932.7238 | 9098.5748 | 38234.7964 | 50845.2 | 15304.4052 | 19298.2957 | 1409.8374 | -0.69959 | 245652.9061 | 1102.0927 | 0 |  |  | 15.567 | 0.092661
winter | both | 4
summer | both | 4 | 110388.3217 | 282179.6712 | 0.80721 | 19953.455 | 6500.554 | 1.4042e-05 | 26454.009 | 50854.9452 | 19993.7399 | 19943.3496 | 1462.378 | 8320.1 | 230384.7227 | 1403.4945 | 34518.507 | 841.9148 | 0.38785 | 38264.6274 | 301.2963
|  |  | -14704.9126 | -11.1888 | -0.061832 | -4250.0428 | 1567.8302 | -9098.5748 | -11780.7874 | 9.7452 | 4689.3347 | 645.0539 | 52.5405 | 8320.7996 | -15268.1834 | 301.4019 | 34518.507 | 841.9148 | 0.38785 | 38249.0604 | 301.2036
TOU 8
winter | no_flex | 0 | 116023.289 | 282179.6712 | 0.83841 | 20114.0927 | 6942.2847 | 2530.0881 | 29586.4654 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 236582.9608 | 1101.8348 | 0 | 0 | 0
summer | no_flex | 0 | 124337.6291 | 282190.86 | 0.86636 | 22795.5711 | 5233.0128 | 9451.307 | 37479.8908 | 50845.2 | 15304.4052 | 19298.2957 | 1409.8374 | 0 | 244897.3009 | 1127.3473 | 0 | 0 | 0
winter | both | 2 | 116706.4158 | 282179.6713 | 0.84083 | 20578.5072 | 7102.5752 | 2588.5053 | 30269.5877 | 50843.1852 | 15303.8015 | 19297.5307 | 992.3107 | 0 | 237266.0876 | 1127.275 | 0
summer | both | 2 | 121633.3586 | 282179.6712 | 0.85825 | 20824.713 | 7456.3907 | 5114.4587 | 33395.5624 | 51302.3202 | 16537.7269 | 19392.8013 | 1004.9478 | 0 | 242193.0304 | 1183.4304 | 15931.1957 | 346.3303 | 1.096
winter | both | 4 | 116706.4158 | 282179.6713 | 0.84083 | 20578.5072 | 7102.5752 | 2588.5053 | 30269.5877 | 50843.1852 | 15303.8015 | 19297.5307 | 992.3107 | 0 | 237266.0876 | 1127.275 | 0
summer | both | 4 | 119679.3171 | 282179.6712 | 0.84982 | 21259.5967 | 5421.7143 | 4952.1226 | 31633.4336 | 51143.8199 | 16111.7573 | 19359.9124 | 1430.394 | 0 | 240238.989 | 1167.9992 | 12796.9805 | 511.8792 | 0.032717 | 9062.6004 | 63.3748
[10 empty] | 1167.5887 |  |  |  |  | 120559.6718
Higher Water Target, TOU 3
summer | both | 4 | 147118.4821 | 355610.3649 | 0.75268 | 25765.6517 | 7150.9043 | 5144.3185 | 38060.8744 | 64168.339 | 19539.9542 | 24338.8517 | 1010.4627 | 0 | 267678.1539 | 1597.6891 | 13084.0424 | 467.2872 | -0.25905
summer | real data | real data | N/A | N/A | N/A | 28838 | 7567.5 | 13764.1 | 50169.7 | ? | ? | ? | N/A
TIME PERIOD = 2 DAYS | [14 empty] | Total Cost | MMaximum Power | Energy Capacity | Power Capacity | LVOF
Season | Flexibility Type | Num Flexible Trains | Total Operational Cost | Total Water Production (m3) | LCOW ($/m3) | Total Energy Cost | Fixed Demand Cost | Variable Demand Cost | Total Elec. Cost | Total Feed Cost | Total Brine Cost | Total Chemical Cost | Total Replacement Cost | Total Demand Response Revenue | 63734.6679 | 1078.4493 | 624.7035 | 13.0147 | 27.5142
0.25871
winter | both | 4 | 121563.1189 | 306531.7769 | 0.7884 | 19075.2414 | 6261.9682 | 1707.4548 | 27044.6644 | 55296.1295 | 16799.6839 | 20976.4319 | 1446.2092 | 0 | 242122.7908 | 1421.8976 | 16926.9658 | 248.926 | -0.61547 | 31937.3105 | 319.3731
winter | real data | real data | N/A | N/A | N/A | 21558 | 7337 | 3883 | 32778 | ? | ? | ? | N/A
Higher Brine Costs
summer | no_flex | 0 | 144641.5733 | 282179.6712 | 0.85637 | 20627.4312 | 4930.8542 | 9095.1263 | 34653.4117 | 50843.184 | 38437.4471 | 19297.5305 | 1410 | 0 | 265201.2451
summer | both | 4 | 141686.6145 | 282179.7035 | 0.92783 | 19831.0657 | 6230.6792 | 4871.4167 | 30933.1616 | 50937.4506 | 39073.7117 | 19317.0918 | 1425.1989 | 0 | 262246.2863 | 1392.088 | 14195.8582 | 112.6655 | -1.5208 | 12183.2217 | 290.0767
-750.0924
summer | no_flex | 0 | 182723.1181 | 282179.6712 | 0.85637 | 20627.4312 | 4930.8542 | 9095.1263 | 34653.4117 | 50843.184 | 76518.9919 | 19297.5305 | 1410 |  | 303282.7899
summer | both | 4 | 180164.7265 | 282179.6712 | 1.0642 | 19863.1784 | 6506.5697 | 4873.6103 | 31243.3583 | 50899.9452 | 77281.7205 | 19309.3084 | 1430.394 | 0 | 300724.3984 | 1453.7288 | 14136.3716 | 107.9112 | -4.2491 | 13013.5923 | 351.7187
-831.2678
Working Hours
summer | no_flex | 4 | 119726.3997 | 282179.8322 | 0.84996 | 20303.2881 | 6543.2205 | 5999.2463 | 32845.755 | 50843.3301 | 15304.1217 | 19297.5658 | 1435.6271 | 0 | 240286.0715 | 1461.9175 | 30796.2444 | 375.564 | 0.012066 | 30890.8481 | 359.1959
summer | both | 4 | 118661.2287 | 282195.4649 | 0.84615 | 20110.908 | 6540.2067 | 4890.2436 | 31541.3582 | 50907.0231 | 15468.5748 | 19311.2667 | 1433.0058 | 0 | 239220.9005 | 1461.2441 | 30869.8126 | 411.5975 | 0.046543 | 30784.7301 | 331.0186
|  |  | -2846.6959 | 15.7936 | -0.010217 | -516.5232 | 1609.3525 | -4204.8827 | -3112.0534 | 63.8391 | 164.7764 | 13.7362 | 23.0058
[9 empty] | 34653.4117 | 242.3517
No Brine Cost During Startup
summer | both | 4 | 113976.0162 | 282179.6712 | 0.82949 | 19739.4096 | 6280.2266 | 0 | 26019.6362 | 50944.9452 | 15577.2816 | 19971.7752 | 1462.378 | 0 | 234535.688 | 1403.1582 | 34638.6855 | 865.9671 | 0.17674 | 38493.2676 | 300.7287
-7531.9084
Simplified Rate Structure
Off-Peak Demand Charge | On-Peak Demand Charge | Num Flexible Trains
20 | 60 | 2 | 120712.6909 | 282179.6712 | 0.85495 | 18681.2224 | 5354.6115 | 8156.0831 | 32191.917 | 51372.1243 | 16725.3254 | 19407.2856 | 1016.0386 | 0 | 241272.3627 | 1192.7638 | 19736.2063 | 481.3709 | 0.12592
20 | 50 | 2 | 119392.4235 | 282254.8186 | 0.85006 | 19407.8401 | 5891.8301 | 6659.4943 | 31959.1645 | 51102.0459 | 15967.1765 | 19353.5739 | 1010.4627 | 0 | 239952.0954 | 1312.4316 | 18377.6166 | 459.4404 | 0.14759
20 | 40 | 2 | 117777.0295 | 282179.6712 | 0.84456 | 19298.2456 | 5682.0017 | 5350.3347 | 30330.5819 | 51097.7339 | 15987.9013 | 19350.3496 | 1010.4627 | 0 | 238336.7013 | 1265.6914 | 17746.1639 | 507.0333 | -0.25984
20 | 30 | 2 | 116625.1695 | 282182.5055 | 0.84046 | 19302.7526 | 6226.5182 | 3974.5318 | 29503.8026 | 51013.6107 | 15760.6013 | 19332.9819 | 1014.1731 | 0 | 237184.8413 | 1386.9849 | 18436.4452 | 209.5051 | 0.2805
20 | 20 | 2 | 115198.46 | 282179.6712 | 0.83541 | 19351.2256 | 6002.047 | 2645.4377 | 27998.7102 | 51033.4443 | 15815.1229 | 19337.0095 | 1014.1731 | 0 | 235758.1318 | 1336.9829 | 18577.3079 | 432.0304 | -0.12249
20 | 15 | 2 | 114451.2587 | 282179.6712 | 0.83278 | 19390.978 | 5599.5405 | 2128.1288 | 27118.6473 | 51068.5077 | 15909.3558 | 19344.2852 | 1010.4627 | 0 | 235010.9305 | 1247.3228 | 16417.5026 | 469.0715 | 0.46005
20 | 12 | 2 | 114787.7594 | 282179.6712 | 0.83403 | 20436.4724 | 4946.5397 | 2967.9238 | 28350.9358 | 50843.184 | 15303.7984 | 19297.5305 | 992.3107 | 0 | 235347.4312 | 1101.8639 | 13.3805 | 2.6761 | -198.0216
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This should be a formula
Note on N2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: By default, these numbers are incorrect. Only the green numbers are correct
Note on S2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This isn’t being calculated correctly...
Note on A7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This will of course give the baseline because it is already at the maximum recovery- there is no potential for charging capacity
Note on A12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This result still make sense because: the recovery change would cause an extra cost that outweighs the tiny electricity savings.
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This should be the same as the baseline
Note on A25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: So IMO the definition of “flexible trains is strange here. Shouldn’t the first two trains have operations totally fixed? Currently, this just prevents trains one and two from turning off Reply: Which yields (somewhat obviously) the same result as 4 flexible trains
Note on Q27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is higher than the baseline because the solution is not optimal. It fails to optimize the UF pumps
Note on A28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This cannot be higher than the two flex trains case, so I think it’s fair to use the same solution for both.
Note on A32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Forced Five shutdowns
Note on A50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Winter is low winter weekdays + low weekends
Note on A51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Summer week = hot summer weekdays + high weekends
Note on A60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wrong baseline power was used
Note on A61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Old solution where there is only one plant shutdown.
Note on A62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Solution where there is a shutdown for all peak hours
Note on A63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only one plant shutdown allowed
Note on A66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Specifically 725 kW, which is the peak power for the optimal full flex solution
Note on A70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Including this as the final result
Note on L71: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Just some random lower recovery periods
Note on A78: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This should be the same as the other DR solution, except for the demand response revenue
Note on A80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If RED, result is using the 2026 rate, but I’m updating to the 2023 version
Note on A85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pretty sure this solution is wrong, but I don’t think I need this case for the paper
Note on A91: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The flexibility metrics are all nonsense. Would have to run a baseline case for this to work.
Note on A103: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2.5x higher brine costs (1.08$/m3)
Note on A106: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 5x brine costs (2.15 $/m3)
Note on A109: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Working Hours = 8 AM to 5 PM
Note on A114: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Five Shutdowns
Note on T122: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These LVOF numbers are nonsense because the baseline costs are not the same

## Understanding DR Result
Season | Flexibility Type | Num Flexible Trains | Op Cost (No DR) | Total Energy Cost | Fixed Demand Cost | Variable Demand Cost | Total Elec. Cost | Total Feed Cost | Total Brine Cost | Total Chemical Cost | Total Demand Response Revenue
NO DR, NO SHUTDOWN
summer | both | 4 | 116354.4155 | 19840.5371 | 5280.6331 | 4877.4899 | 29998.6601 | 51077.1359 | 15932.544 | 19346.0755 | 0
NO DR, 5 SHUTDOWN | [11 empty] | Same Solution
summer | both | 4 | 117113.7005 | 19619.1078 | 6176.7328 | 1.4362e-05 | 25795.8407 | 50989.9452 | 20356.5524 | 19971.3621 | 0
|  |  | 759.2849 | -221.4292 | 896.0998 | -4877.4899 | -4202.8194 | -87.1907 | 4424.0084 | 625.2866
NO DR, 1 HR Start-Up
| both | 4 | 114153.0957 | 19390.341 | 6212.6009 | 1.2198e-05 | 25602.9419 | 50959.9452 | 17946.7608 | 19643.4478 | 0
|  |  | 0.17154 |  |  |  |  | 88550.1538
DR, 5 SHUTDOWN
summer | both | 4 | 117112.9202 | 19617.2696 | 6177.7909 | 1.4897e-05 | 25795.0604 | 50989.9452 | 20356.5524 | 19971.3621 | 11020
DR, 1 SHUTDOWN
summer | both | 4 | 117626.3314 | 19403.0542 | 5553.2925 | 4877.8861 | 29834.2328 | 51173.6701 | 17123.6464 | 19494.7821 | 11020
|  |  | 0.38932 |  |  |  |  | 87792.0986
DR, 1 SHUTDOWN, 3 HR Startup | both | 4 | 118290.9022 | 19769.3382 | 6055.3448 | 4869.7822 | 30694.4653 | 50987.3202 | 17088.6644 | 19520.4524 | 11020
Differences | [8 empty] | Most difference is the start up periods (ofc)
1 shutdown vs no shutdowns |  |  | 1271.9159 | -437.4829 | 272.6594 | 0.39617 | -164.4273 | 96.5342 | 1191.1024 | 148.7066
5 shutdowns vs no shutdowns |  |  | 759.2849 | -221.4292 | 896.0998 | -4877.4899 | -4202.8194 | -87.1907 | 4424.0084 | 625.2866
1 shutdown vs 5 shutdowns |  |  | 513.4112 | -214.2154 | -624.4984 | 4877.8861 | 4039.1724 | 183.7249 | -3232.906 | -476.58
3 HR shutdown vs no shutdowns |  |  | 1936.4867 | -71.1989 | 774.7118 | -7.7077 | 695.8052 | -89.8157 | 1156.1204 | 174.3768
2 HR vs. 3 HR Shutdown |  |  | -664.5709 | -366.284 | -502.0523 | 8.1039 | -860.2325 | 186.3499 | 34.982 | -25.6703
Note on J4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 10 hrs = 133 m3/hr 41 hrs = 267 m3/hr (4 trains @ 91.3% RR) Remainder = 222 m3/hr (3 trains @ 92.5%)
Note on A7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Forced Five shutdowns
Note on J7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 25 hrs = 0 brine 10 hours = 1083 m3/hr (from 2 Ro trains @ 520 + UF) 133 hrs = 277 m3/hr (97 m3/hr from UF, remainer 45 m3/hr per train at 92.2% RR)
Note on A9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Has 5 shutdowns as expected
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Percent savings compared to baseline
Note on A13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Solution where there is a shutdown for all peak hours Reply: I’d like to see numbers for only one shutdown
Note on J13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 25 hrs = 0 brine 10 hours = 1083 m3/hr (from 2 Ro trains @ 520 + UF) 133 hrs = 277 m3/hr (97 m3/hr from UF, remainer 45 m3/hr per train at 92.2% RR)
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only one plant shutdown allowed
Note on J16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 5 hrs = 0 brine 2 hrs = 1083 m3/hr 82 hrs = 270 m3/hr 8 hrs = 133 m3/hr @ low RR Remaining = ~220 m3/hr Reply: Low key this result is probs not the optimal version of one shutdown...
Note on D17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Percent savings compared to baseline
Note on J23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For one shutdown - there are significantly longer periods of operation at lower recovery. This occurs because there is more water to shift to off-peak hours, thus more time to be at the lower recovery value (minimizing the demand charge)
Note on J25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Slightly reduced recovery at 0.922 to get to 578 Feed flowrate. Plus the start-up parts

## SA - Start-Up Cost
[6 empty] | 121507.9245 | [5 empty] | 34653.4117
BRINE COST DURING STARTUP | Rate Structure | Shutdowns | Season | Flexibility Type | Num Flexible Trains | Total Operational Cost | Total Water Production (m3) | LCOW ($/m3) | Total Energy Cost | Fixed Demand Cost | Variable Demand Cost | Total Elec. Cost | Total Feed Cost | Total Brine Cost | Total Chemical Cost | Total Replacement Cost | Total Demand Response Revenue | Total Cost | Maximum Power | Energy Capacity | Power Capacity | LVOF | Charge Energy Capacity | Charge Power Capacity | Start-Up Costs | Brine Minus Start-up Costs | Percent Savings
0 | TOU3 | 5 | summer | both | 4 | 113976.0162 | 282179.6712 | 0.82949 | 19739.4096 | 6280.2266 | 0 | 26019.6362 | 50944.9452 | 15577.2816 | 19971.7752 | 1462.378 | 0 | 234065.6207 | 1403.1582 | 34638.6855 | 865.9671 | 0.17674 | 38493.2676 | 300.7287 | 0 | 15577.2816 | 0.21735
0.215 | TOU3 | 5 | summer | both | 4 | 116312.836 | 282179.6712 | 0.83777 | 19752.1874 | 6300.564 | 0 | 26052.7514 | 50940.9115 | 17895.6076 | 19961.1876 | 1462.378 | 0 | 236402.4406 | 1407.702 | 34730.9524 | 847.0964 | 0.10899 | 38694.8836 | 304.6841 | 2327.5 | 15568.1076 | 0.14992
0.43 | TOU3 | 0 | summer | both | 4 | 117790.4155 | 282179.6712 | 0.8431 | 19840.5371 | 5280.6331 | 4877.4899 | 29998.6601 | 51077.1359 | 15932.544 | 19346.0755 | 1436 | 0 | 117790.4155 | 1179.8242 | 12780.0129 | 511.2005 | 0.1812 | 11081.3187 | 77.4917 | 0 | 15932.544 | 0.10728
0.86 | TOU3 | 0 | summer | both | 4 | 117790.4155 | 282179.6712 | 0.8431 | 19840.5371 | 5280.6331 | 4877.4899 | 29998.6601 | 51077.1359 | 15932.544 | 19346.0755 | 1436 | 0 | 117790.4155 | 1179.8242 | 12780.0129 | 511.2005 | 0.1812 | 11081.3187 | 77.4917 | 0 | 15932.544 | 0.10728
1.29 | TOU3 | 0 | summer | both | 4 | 117790.4155 | 282179.6712 | 0.8431 | 19840.5371 | 5280.6331 | 4877.4899 | 29998.6601 | 51077.1359 | 15932.544 | 19346.0755 | 1436 | 0 | 117790.4155 | 1179.8242 | 12780.0129 | 511.2005 | 0.1812 | 11081.3187 | 77.4917 | 0 | 15932.544 | 0.10728
0 | TOU3 + DR | 5 | summer | both | 4 | 102956.0162 | 282179.6712 | 0.82949 | 19739.4096 | 6280.2266 | 0 | 26019.6362 | 50944.9452 | 15577.2816 | 19971.7752 | 1462.378 | 11020 | 234065.6207 | 1403.1582 | 34638.6855 | 865.9671 | 0.17674 | 38493.2676 | 300.7287 | 0 | 15577.2816 | 0.53536
0.215 | TOU3 + DR | 5 | summer | both | 4 | 105292.836 | 282179.6712 | 0.83777 | 19752.1874 | 6300.564 | 0 | 26052.7514 | 50940.9115 | 17895.6076 | 19961.1876 | 1462.378 | 11020 | 236402.4406 | 1407.702 | 34730.9524 | 847.0964 | 0.10899 | 38694.8836 | 304.6841 | 2327.5 | 15568.1076 | 0.46792
0.43 | TOU3 + DR | 5 | summer | both | 4 | 107555.2982 | 282179.6712 | 0.80674 | 19617.2696 | 6177.7909 | 1.4897e-05 | 25795.0604 | 50989.9452 | 20356.5525 | 19971.3621 | 1462.378 | 11020 | 107555.2982 | 1380.2715 | 33980.6344 | 943.9065 | 0.36911 | 36719.7301 | 278.1798 | 4655 | 15701.5525 | 0.40263
0.86 | TOU3 + DR | 1 | summer | both | 4 | 109004.263 | 282179.6712 | 0.81197 | 19558.4495 | 5823.123 | 4874.6014 | 30256.1739 | 51073.2071 | 17785.3188 | 19473.936 | 1435.6271 | 11020 | 229120.6184 | 1301.0299 | 18243.0148 | 200.4727 | 0.60811 | 15218.1996 | 197.639 | 1862 | 15923.3188 | 0.36082
1.29 | TOU3 + DR | 1 | summer | both | 4 | 109934.9442 | 282179.6712 | 0.81197 | 19558.4495 | 5823.123 | 4874.6014 | 30256.1739 | 51073.2071 | 18716 | 19473.936 | 1435.6271 | 11020 | 229120.6184 | 1301.0299 | 18243.0148 | 200.4727 | 0.60811 | 15218.1996 | 197.639 | 2793 | 15923 | 0.33396
0 | RTP | 5 | summer | both | 4 | 119671.74 | 282179.6712 | 0.84964 | 22359.4288 | 9372.586 | 0 | 31732.0148 | 50940.3532 | 15564.9407 | 19961.0718 | 1473.3595 | 0 | 239750.363 | 1487.5566 | 36747.994 | 816.6221 | 1.8327 | 42963.3018 | 349.2951 | 0 | 15564.9407 | 0.65611
0.215 | RTP | 5 | summer | both | 4 | 122207.4385 | 282179.6712 | 0.85862 | 22422.4092 | 9246.5949 | 0 | 31669.0041 | 50981.234 | 18099.5307 | 19984.3102 | 1473.3595 | 0 | 242286.0615 | 1467.5601 | 37047.6003 | 823.28 | 1.7494 | 43335.0216 | 352.3172 | 2327.5 | 15772.0307 | 0.62954
0.43 | RTP | 5 | summer | both | 4 | 123759.4961 | 282179.6712 | 0.86412 | 22235.1295 | 9205.4054 | 0 | 31440.5348 | 50868.698 | 20030.7005 | 19946.2033 | 1473.3595 | 0 | 123759.4961 | 1461.0227 | 37816.4635 | 822.097 | 1.6728 | 43765.0403 | 358.7298 | 4655 | 15375.7005 | 0.61327
0.86 | RTP | 5 | summer | both | 4 | 128510.5454 | 282179.6712 | 0.88096 | 22250.6738 | 9244.6814 | 0 | 31495.3552 | 50878.4272 | 24715.1813 | 19948.2221 | 1473.3595 | 0 | 248589.1684 | 1467.2564 | 37808.9683 | 821.9341 | 1.5475 | 43921.3143 | 360.0108 | 9310 | 15405.1813 | 0.56348
1.29 | RTP | 5 | summer | both | 4 | 133101.9984 | 282179.6712 | 0.89723 | 22239.8458 | 9215.9994 | 0 | 31455.8452 | 50871.4002 | 29354.6295 | 19946.764 | 1473.3595 | 0 | 253180.6214 | 1462.7041 | 37658.7376 | 818.6682 | 1.4318 | 43571.5294 | 357.1437 | 13965 | 15389.6295 | 0.51537
Note on G2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This should be a formula
Note on V2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This isn’t being calculated correctly...
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Higher costs don’t change the solution because it avoids shutdowns Reply: Start-Up cost = $931 per start-up
Note on D9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total Cost will change
Note on A11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming solution remains the same at lower start-up costs
Note on O13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Calculated by manually adding in the cost of startup
Note on A15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These are now all incorrect with the updated RTP rate

## SA - Water Target
|  | Annual AF | Weekly Water | Plant Capacity | Baseline Electricity Cost | Flexible Electricity Costs | Flow Cost Increase | Percent Savings
| TWO TRAINS | 8000 | 188119.7833 | 47.66% | 23102.2766 | 21941.3268 | 227.3858 | -4.041
|  | 10000 | 235149.726 | 59.57% | 34228.4051 | 25825.9746 | -12815.1094
|  | 12000 | 282179.6712 | 71.49% | 34654.7573 | 29978.2525 | 1000.8859 | -10.6064
|  | 14000 | 329209.6164 | 83.4% | 45897.8859 | 34616.1411 | -13034.9402
| FOUR TRAINS | 16000 | 376239.5616 | 95.32% | 46518.3617 | 43908.3457 | 155.8414 | -5.2757
| MAX |  | 394716
RESULTS
Season | Flexible | Total OPEX Cost | Annual Production (AF) | Number of Allowed Shutdowns | Total Water Production (m3) | Total Cost ($) | Total Energy Cost ($) | Total Demand Cost ($) | Total Feed Cost ($) | Total Brine Cost ($) | Total Chemical Cost ($) | Total Electricity Cost ($) | Total Replacement Cost ($) | Degree of Flexibility | Levelized Cost of Water ($/m3)
Summer | Y | 80541.5586 | 8000 | 10 | 188119.7833 | 200683.7037 | 13644.5991 | 8296.7278 | 33953.8351 | 10359.4251 | 12877.1341 | 21941.3268 | 1409.8374 | 0 | 1.0668
Summer | Y | 99135.7841 | 10000 | 10 | 235149.726 | 219262.5678 | 16362.7271 | 9463.2475 | 42544.121 | 13222.943 | 16117.5466 | 25825.9746 | 1425.1989 | 0.10778 | 0.93244
Summer | Y | 117856.657 | 12000 | 10 | 282179.6712 | 237975.6338 | 19793.4058 | 10184.8467 | 51100.1509 | 15994.3968 | 19350.8511 | 29978.2525 | 1433.0058 | 0.16168 | 0.84335
Summer | Y | 135947.171 | 14000 | 10 | 329210.4637 | 256066.1477 | 23209.5517 | 11406.5895 | 59371.7584 | 18001.1014 | 22525.1642 | 34616.1411 | 1433.0058 | 0.16168 | 0.77782
Summer | Y | 159412.8197 | 16000 | 10 | 376239.5616 | 279542.1869 | 27786.2889 | 16122.0568 | 67830.9226 | 20512.5931 | 25738.3429 | 43908.3457 | 1422.6154 | 0.08982 | 0.74299
Summer | N | 81475.1227 | 8000 | 10 | 188119.7808 | 201617.2678 | 13751.6209 | 9350.6557 | 33895.456 | 10202.5323 | 12865.0203 | 23102.2766 | 1409.8374 | 0 | 1.0717
Summer | N | 120337.9625 | 10000 | 10 | 279720 | 240480.1076 | 20374.4462 | 13853.9589 | 50400 | 15170.4 | 19129.32 | 34228.4051 | 1409.8374 | 0 | 0.85972
Summer | N | 121509.1076 | 12000 | 10 | 282179.6712 | 241651.2527 | 20628.2322 | 14026.5251 | 50843.184 | 15303.7984 | 19297.5305 | 34654.7573 | 1409.8374 | 0 | 0.85637
Summer | N | 160240.6876 | 14000 | 10 | 372960.0138 | 280382.8327 | 27320.6994 | 18577.1865 | 67200.0025 | 20227.2008 | 25505.7609 | 45897.8859 | 1409.8374 | 0 | 0.75178
Summer | N | 161854.2163 | 16000 | 10 | 376239.5617 | 281996.3614 | 27690.0374 | 18828.3243 | 67790.912 | 20405.0645 | 25730.0407 | 46518.3617 | 1409.8374 | 0 | 0.74951